| Sr. No. | Parameters | Specifications |
| --- | --- | --- |
| 1. | Rating | 15 KVA, 415V, 3 Phase, 50Hz, 0.8PF |
| 2. | Voltage Regulation | ± 1 % |
| 3. | Frequency Regulation | ± 5 % |
| 4. | Range of manual voltage adjustment | Max +5 % of 415V, Min -5 % of 415V |
| 5. | THD | Within 5% |
| 6. | Waveform | Sinusoidal |
| 9. | AMF Panel | Provided |